## BLDNG
BILLS OF QUANTITIES
PROJECT NAME |  | SAK ENGINEERING CONSULTANTS
LOCATION |  | Bill No. - 00 (Rev. 0)
BUILDIONG NAME |  | DIVISION - 15 - Mech. Works (Plumbing)
|  |  |  | Unit Price | Amount
Ref. | DESCRIPTION | Quantity | Unit | SR | SR
DRAINAGE SYSTEM
1 | Sanitary Fixtures and Ancillaries:
Supply, installation and testing & commissioning of sanitary fixtures, including angle valves, mixers traps and waste accessories in accordance with specifications and associated drawings.
1.1 | Western Water Closet |  | No. | 1950 | 0
1.2 | W.Basin (oval) |  | No. | 1750 | 0
1.3 | kitchen sink (single bowl) |  | No. | 1800 | 0
1.5 | Janitor sink |  | No. | 1200 | 0
1.6 | Bath tub |  | No. |  | 0
1.7 | Bidet |  | No. |  | 0
1.8 | Shower Tray |  | No. | 1200 | 0
1.9 | Toilet tissue holder |  | No. | 190 | 0
2 | Floor drains gully pvc with hamada cover Japan or equal model
2.1 | F.Drain standard size diameter 110 mm |  | No. | 500 | 0
2.2 | Roof drain as per drawing |  | No. |  | 0
2.3 | Roof vent cowl diameter 75 mm |  | No. |  | 0
3 | Floor clean outs / ceiling clean out
3.1 | Floor clean out diameter 110mm |  | No. | 470 | 0
3.2 | ceiling clean out diameter 110 mm |  | No. | 470 | 0
3.3 | Area drain diameter 75 mm |  | No. |  | 0
4 | Drainage & Vent pipes
PVC, Schedule 40, ring joint type pipe and fittings
4.1 | Diameter 200 mm (8 Inch) |  | m | 190 | 0
4.1 | Diameter 160 mm (6 Inch) |  | m | 140 | 0
4.2 | Diameter 110 mm (4 Inch) |  | m | 105 | 0
4.3 | Diameter 75 mm (3 Inch) |  | m | 80 | 0
4.4 | Diameter 50 mm (2 Inch) |  | m | 65 | 0
5 | Drain inlet strainer diameter 75 mm |  | No. | 300 | 0
| To Bill Summary |  |  |  | 0
Water Supply System:
6 | Cold Water System:
6.1 | Perinal hose spray |  | No. | 190 | 0
6.2 | Mixer for abullotion |  | No. | 1200 | 0
6.3 | Isolating valve diameter 50 mm (2 Inch) |  | No. | 410 | 0
6.4 | Isolating valve diameter 40 mm (1 ½ Inch) |  | No. | 360 | 0
6.5 | Isolating valve diameter 25 mm (1 Inch) |  | No. | 260 | 0
6.6 | Isolating valve diameter 20 mm (¾ Inch) |  | No. | 235 | 0
7 | Cold water pipe
Supply, Installation, testing & commissioning including all necessary sundries, galvanized hangers and support, complete, in accordance with specifications and associated drawings.
upvc schedule 40 class 5 & compatible fittings solvent weld type
7.1 | Diameter 20 mm (¾ Inch) |  | m | 45 | 0
7.2 | Diameter 25 mm (1 Inch) |  | m | 50 | 0
7.3 | Diameter 32 mm (1 ¼ Inch) |  | m | 65 | 0
7.4 | Diameter 40 mm (1 ½ Inch) |  | m | 70 | 0
7.5 | Diameter 50 mm (2 Inch) |  | m | 80 | 0
8 | Hot water pipe
Supply, Installation, testing & commissioning including all necessary sundries, galvanized hangers and support, complete, in accordance with specifications and associated drawings.
cpvc schedule 80 class 5 & compatible fittings solvent weld type
8.1 | Diameter 20 mm (¾ Inch) |  | m | 60 | 0
8.2 | Diameter 25 mm (1 Inch) |  | m | 65 | 0
8.3 | Diameter 32 mm (1 ¼ Inch) |  | m | 80 | 0
8.4 | Diameter 40 mm (1 ½ Inch) |  | m | 90 | 0
8.5 | Diameter 50 mm (2 Inch) |  | m | 105 | 0
| To Bill Summary |  |  |  | 0
9 | Hot water return pipe with insulation
Supply, Installation, testing & commissioning including all necessary sundries, galvanized hangers and support, complete, in accordance with specifications and associated drawings.
cpvc schedule 80 class 5 & compatible fittings solvent weld type with insulation
9.1 | Diameter 20 mm (¾ Inch) |  | m | 60 | 0
9.2 | Diameter 25 mm (1 Inch) |  | m | 65 | 0
9.3 | Diameter 32 mm (1 ¼ Inch) |  | m | 80 | 0
9.4 | Diameter 40 mm (1 ½ Inch) |  | m | 90 | 0
9.5 | Diameter 50 mm (2 Inch) |  | m | 105 | 0
10 | Centralized water heater as per drawing of capacity 00 cubic meter / 00 gpm, 00 kw, operating at 230/1/60 hz with fittings accessories |  | No. |  | 0
11 | Electric water heater from AO Smith or equal brand wall hung type vertical
11.1 | 30 liters capacity |  | No. | 450 | 0
11.2 | 50 liters capacity |  | No. | 600 | 0
11.3 | 100 liters capacity |  | No. | 1100 | 0
12 | Water hammer arrestor |  | No. | 250 | 0
13 | Water tank on roof made up of fiber glass heavy duty of capacity 1 cubic meter with necessary fittings and accessories |  | Set |  | 0
14 | Submersible pump, flow rate 00 gpm @ 00 meter head from standard manufacturer |  | No. |  | 0
15 | Hot water circulating pump, horizontal multistage, flow rate 00 gpm @ 00 meter head, 00 kw operating at 230 / 1/60 hz, with valves fittings and necessary accessories |  | Set |  | 0
16 | Booster pumps, vertical multistage centrifugal, flow rate 00 gpm @ 00 meter head, 00 kw operating at 230 / 1/ 60 hz with necessary valves fittings and accessories |  | Set |  | 0
| To Bill Summary |  |  |  | 0
AA | Civil Works:
| Provide for associated civil works required for the Mechanical Services Installation as described and listed in this B of Q and as shown on the drawings. The works shall include the formation of all holes for the services to pass through etc., and the sealing of the holes once the services have been installed. |  | item | 5000 | 0
| To Bill Summary |  |  |  | 0
BILL SUMMARY
00 -Bill #00 -Div.15 -Plumbing -Rev.0 -Page 1 of 4
00 -Bill #00 -Div.15 -Plumbing -Rev.0 -Page 2 of 4
00 -Bill #00 -Div.15 -Plumbing -Rev.0 -Page 3 of 4
00 -Bill #00 -Div.15 -Plumbing -Rev.0 -Page 4 of 4
| To General Summary |  |  |  | 0

## XTRNAL WRK
BILLS OF QUANTITIES
PROJECT NAME |  | SAK ENGINEERING CONSULTANTS
LOCATION |  | Bill No. - 00 (Rev. 0)
EXTERNAL WORKS |  | DIVISION - 15 - Mech. Works (Plumbing)
|  |  |  | Unit Price | Amount
Ref. | DESCRIPTION | Quantity | Unit | SR | SR
DRAINAGE SYSTEM
1 | Sewerage Manholes necessary civil work with heavy duty cast iron cover and frame, unless if not included in civil works
1.1 | 1000 x 1000 mm |  | No. | 3150 | 0
2 | Grease interceptor as per drawing from standard manufacturer with necessary fittings and accessories |  | set |  | 0
3 | External drainage piping (u-pvc class - 4 , Sch 40)
Supply, Install, testing & commissioning and setting to work including all necessary sundries. Complete.(under ground pipes, thrust block, excavation and backfilling)
3.1 | Diameter 160 mm |  | m | 150 | 0
3.2 | Diameter 110 mm |  | m | 115 | 0
4 | Water Supply System:
Supply, Installation, testing & commissioning including all necessary sundries, thrust block, excavation and backfilling
uPVC schedule 80 class 5 & compatible fittings solvent weld type.
Under ground water supply pipe .
3.1 | Diameter 75 mm |  | m | 120 | 0
AA | Civil Works
| Provide for associated civil works required for the Mechanical Services Installation as described and listed in this B of Q and as shown on the drawings. The works shall include the formation of all holes for the services to pass through etc., and the sealing of the holes once the services have been installed. |  | item | 8000 | 0
| To General Summary |  |  |  | 0

## UG TANK & PMP RM
BILLS OF QUANTITIES
PROJECT NAME |  | SAK ENGINEERING CONSULTANTS
LOCATION |  | Bill No. - 00 (Rev. 0)
UNDER GROUND WATER TANK AND PUMP ROOM |  | DIVISION - 15 - Mech. Works (Plumbing)
|  |  |  | Unit Price | Amount
Ref. | DESCRIPTION | Quantity | Unit | SR | SR
1 | Domestic water supply pump, vertical multistage centrifugal booster pump of flow rate 00 m3/hr and total dynamic head 00 bar, 00 kw motor, operating at 380 / 3 / 60, with all necessary pump room piping, valves, fittings and accessories, Grundfos model, two duty one stand by, complete with pressure tank, pressure switch, with necessary control panel. 00 nos duty and one standby |  | set | 25000 | 0
2 | Floor drain inside pump room of standard diameter and cover |  | No. | 500 | 0
3 | All required sleeves, no leak flange required inside the pump room |  | item | 5500 | 0
4 | Underground water tank plumbing fittings, valves, connection etc |  | item |  | 0
5 | 225 diameter pvc goose neck vent, connection, stainless steel insect screen for water tank, float valve and other necessary fittings. |  | set |  | 0
6 | 2 nos. truck fill line, complete with vandal proof cover, chain padlock and manhole. |  | set |  | 0
7 | Float valve diameter 50 mm |  | No. |  | 0
8 | check valve diameter 40 mm |  | No. |  | 0
9 | Booster pumps, vertical multistage centrifugal, flow rate 00 gpm @ 00 meter head, 00 kw operating at 230 / 1/ 60 hz with necessary valves fittings and accessories |  | Set |  | 0
10 | Submersible pump, flow rate 00 gpm @ 00 meter head from standard manufacturer |  | No. |  | 0
AA | Civil Works
| Provide3 for associated civil works required for the Mechanical Services Installation as described and listed in this B of Q and as shown on the drawings. The works shall include the formation of all holes for the services to pass through etc., and the sealing of the holes once the services have been installed. |  | item | 2600 | 0
| To General Summary |  |  |  | 0

## SPTK TANK
BILLS OF QUANTITIES
PROJECT NAME |  | SAK ENGINEERING CONSULTANTS
LOCATION |  | Bill No. - 00 (Rev. 0)
SEPTIC TANK |  | DIVISION - 15 - Mech. Works (Plumbing)
|  |  |  | Unit Price | Amount
Ref. | DESCRIPTION | Quantity | Unit | SR | SR
DIVISION 15 - MECHANICAL SERVICES WORKS
B | PLUMBING
Supply, installation, testing & commissioning including all necessary sundries complete
1 | Connections of underground drainage pipe to septic tanks |  | item | 9600 | 0
0
2 | 160 mm dia vent pipe Gooseneck with stainless steel insect screen |  | No. | 2200 | 0
3 | 160 mm dia. U/G drainage pipe provision capped for future city drainage connection |  | item | 3250 | 0
4 | Heavy duty cast iron manhole cover and frame, unless included in civil works |  | item | 2450 | 0
0
AA | Civil Works |  |  |  | 0
| Provide for associated civil works required for the Mechanical Services Installation as described and listed in this B of Q and as shown on the drawings. The works shall include the formation of all holes for the services to pass through etc., and the sealing of the holes once the services have been installed. |  | item | 2000 | 0
| To General Summary |  |  |  | 0